# Hot Work Permit

| Date: | ...../...../..... |  | Full Name of Person Carrying Out Work: |  |  |  |  | __________________ |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Company: | _______________ |  |  | Signature: |  | _________________________ |  |  |
| Responsible Officer: |  | _______________ |  |  | Fire Watch: |  | _______________________ |  |

| Section A: To be completed prior to work |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| WORK TO BE DONE (Description & Location) |  |  |  | TIME OF ISSUE |  |  |  |  | TIME OF EXPIRY |  |
| ____________________________________ ____________________________________ |  |  |  | : am/pm |  |  |  |  | : am/pm |  |
| PRECAUTIONS |  | CHECKLIST |  |  |  | IF “NO” DESCRIBE |  |  |  |  |
| Fire Protection |  |  |  |  |  |  |  |  |  |  |
| - Sprinklers in service (If installed) |  |  |  | - Yes | - No |  |  |  |  |  |
| - Detection systems isolated and impairment form completed |  |  |  | - Yes | - No |  |  |  |  |  |
| - Portable extinguishers and fire hose reels available |  |  |  | - Yes | - No |  |  |  |  |  |
| Area Preparation |  |  |  |  |  |  |  |  |  |  |
| - Floors swept clean of combustibles |  |  |  | - Yes | - No |  |  |  |  |  |
| - Combustible floors wet down, covered with damp sand, metal or other shields |  |  |  | - Yes | - No |  |  |  |  |  |
| - All combustible material or flammable liquids removed from the area |  |  |  | - Yes | - No |  |  |  |  |  |
| - All wall and floor openings /penetrations appropriately sealed |  |  |  | - Yes | - No |  |  |  |  |  |
| - Is surrounding construction non-combustible and without combustible coverings |  |  |  | - Yes | - No |  |  |  |  |  |
| - Covers suspended around work to collect sparks |  |  |  | - Yes | - No |  |  |  |  |  |
| - If working on enclosed equipment (tanks, containers, ducts, dust collectors, etc) has enclosed space precautions been taken |  |  |  | - Yes | - No |  |  |  |  |  |
| Fire Watch |  |  |  |  |  |  |  |  |  |  |
| - To be provided during and 60 minutes after work |  |  |  | - Yes | - No |  |  |  |  |  |
| - Trained in the use of fire equipment and in sounding the fire alarm |  |  |  | - Yes | - No |  |  |  |  |  |
| Section B: To be completed after work |  |  |  |  |  |  |  |  |  |  |
| FINAL CHECK-UP |  |  |  | CHECKLIST |  |  |  |  | TIME WORK COMPLETED |  |
| Work area and all adjacent areas where sparks might have spread were inspected for at least 60 minutes after the work was completed and no fire conditions were noted. |  |  |  | - Yes | - No |  |  | : am/pm |  |  |
| Signature of Operator: | _______________ | Signature of Fire Watch: |  |  |  |  |  |  |  | ________________ |
| Signature of Responsible Office (If satisfied): |  |  | _________________ |  |  |  |  |  |  |  |